## Tab 1 - Labor Rates
MARC/KCRPC BID 119 - APPENDIX A - TAB 1 - LABOR RATES - Addendum 1 Revision (shown in red font)
Bidders must submit Appendix A in Excel workbook format only
|  | Labor Rates (Non-Prevailing Wages - work under $75,000) |  | Labor Rates (for Missouri projects only) Prevailing Wage Work over $75,000) |  | Labor Rates for Federal/DOT Funded Projects only (Davis-Bacon ) KANSAS ONLY |  | Labor Rates for Federal/DOT Funded Projects only (Davis-Bacon ) MISSOURI ONLY
Service Call: |  | Hourly Rate: | Minimum Hrs. | Hourly Rate: | Minimum Hrs. | Hourly Rate: | Minimum Hrs. | Hourly Rate: | Minimum Hrs.
Regular Hours | Monday - Friday 8:00 a.m. to 5 p.m.
After Hours | Monday - Friday
Weekends | Saturday - Sunday
Holidays
Emergency Service Call:
Regular Hours | Monday - Friday 8:00 a.m. to 5 p.m.
After Hours | Monday - Friday
Weekends | Saturday - Sunday
Holiday
Other: |  | Hourly Rate: | Minimum Hrs. | Hourly Rate: | Minimum Hrs. | Hourly Rate: | Minimum Hrs. | Hourly Rate: | Minimum Hrs.
Bucket truck rental, including operators
Tower crew, rate per person
Training costs - include cost per hour or set pricing, training material, travel costs and any other relevant cost breakdowns.
Integration costs:
Lift Rental
Subcontractor
Boring services |  |  | Per foot |  | Per foot |  | Per foot |  | Per foot
Ductwork | Standard 3 inch (KCMO) |  | Per foot |  | Per foot |  | Per foot |  | Per foot
Ductwork | Non-KCMO Jurisdictions |  | Per foot |  | Per foot |  | Per foot |  | Per foot
State any additional costs for delivery or mileage rate, for products or services requested by agencies located outside the greater metropolitan Kansas City area. |  | Delivery:
Mileage rate:

## Tab 2 - Product Offerings
MARC/KCRPC BID 119 - APPENDIX A - TAB 2 - PRODUCT OFFERINGS - Addendum 1 (No changes to Tab 2)
Bidders must submit Appendix A in Excel workbook format only
Rows may be inserted as needed, for each category. State "no bid" if not quoting on a category. Bidders must either provide actual price list, by labeling and cross referencing the category, or provide link to published MSRP list.
MANUFACTURER: | NDAA COMPLIANT? Yes/No | NAME AND EFFECTIVE DATE OF PUBLISHED CATALOG/PRICE SHEET | MARC DISCOUNT (%) OFFERED: | MSRP WEB LINK: | LEAD TIME for DELIVERY OF PRODUCTS (AFTER RECEIPT OF ORDERS) IF AVAILABLE:
CATEGORY A: |  | VIDEO SURVEILLANCE EQUIPMENT AND SOFTWARE - IP-BASED
CATEGORY B: |  | SOLAR-POWERED PORTABLE TRAILERS
CATEGORY C: |  | CONTROLLED BUILDING ACCESS SYSTEMS, PANIC ALARMS (UNDER DESK, WEARABLE)
CATEGORY D: |  | CABLING COSTS (EXCLUDING LABOR)
CATEGORY E: |  | OTHER SIMILAR SURVEILLANCE/SECURITY PRODUCTS OFFERED, BUT NOT LISTED ABOVE)

## Tab 3 - Specifications 4.0
MARC/KCRPC BID 119 - APPENDIX A - TAB 3 - SPECIFICATIONS 4.0 - Addendum 1 Revision (shown in red font)
***Bidders must submit Appendix A in Excel workbook format only***
Bidders must check YES or NO for each statement. If response is NO, bidders must state alternate proposed, OR "no bid". Bidders may attach separate sheet for alternate proposal. | YES | NO | EXCEPTIONS / ALTERNATES (STATE BELOW)
CATEGORY A: Surveillance Cameras
All camera brackets on the pole at location, shall be mounted, preferably, using a metal strap band mounting bracket so that no drilling into the pole is required to hold the camera. Written authorization by the property owner (i.e., agency or utility company) must be obtained prior to any added holes the Contractor deems necessary for installation.
Street-Light Poles
Traffic Signal Standards
Building exteriors/interiors
Radio Towers
Vehicles
Overpasses/bridges
A NEMA rated box may be required of sufficent size to hold necessary equipment for the installation. Box may need to be color matched. The Contractor may be required to connect to electrical power available at the site.
Remote Mount Cameras features must include the following:
IP Addressable
Genetec compatible
PoE (Power Over Ethernet)
Web Interface with User/PW login
ONVIF Compatible
Local EDGE recording capability
Minimum 1080p resolution (State max resolution)
Enclosure for Camera
All weather (Exterior cameras only)
Integration services available?
Vendor will propose solutions and necessary equipment and services to achieve desired capability.
Must be a Genetec certified distributor
Must be proficient in network & firewall configuration to support camera network
Radwin Certified (wireless connectivity)
CATEGORY B: Portable Solar-Powered Trailer-Mounted Surveillance Cameras
If quoting an alternate, bidders must provide alternate description for each criteria that meets the stated functionality of a portable solar-powered trailer-mount, or state "no bid" in column D Exceptions/Alternates.
Trailer to be of tubular steel-welded construction, 2” ball hatch, pivoting wheel tongue jack, flat-four trailer lighting connector, stabilizer corner jacks, front access fork lift picks, crane lifting eyes, full wheel fenders, 3,500 lb. axle assembly, double-eye leaf springs, 15” wheels and tires and reflective marking tape for night visibility. Powder-coated flat black frame and mast, white battery box and NEMA box.
Rotating 24 ft. telescoping tower, with manual winch for raising and lowering the tower.
Camera mount to include multi-head camera enclosure, four pendant arms (1.5” NPT), 5Cat5E cables, 1 16/2 power cable, all housed in Nycoil tubing.
Solar components to include high-efficiency photovoltaic solar models, electric actuator-tilt solar panel array, solar panel capacity of 1500W, Smart MPPT Bluetooth solar controller, battery (time-remainng) feature, and communication module.
Control box of aluminum with a locking door, solar/battery power management meter, master battery disconnect switch and solar panel tilt switch.
Batteries: Enclosed dual battery box with secured lid, with eight 12V sealed AGM batteries (800Ah total capacity) and a 50 Amp battery charger.
Customization to be available with offered Category A cameras.
CATEGORY C: Controlled Building Access
Systems and components of building access control shall be able to screen and validate employees/visitors using various readers, i.e. swipe cards, keypads and/or biometric identification. Building access control shall be compatible with Genetec access control software”. If a manufacturer/brand is offered that is not compatible with Genetec, bidders must state “non-compatible” on Tab 2 - Product Offerings.
Access control readers may be installed internally or externally at building sites or outdoor venue/sites using either wired or wireless technology. Access control systems may integrate with video and/or 2-way audio components. Access control system components could include, but not limited to:
Electromagnetic door lock. Surface-mount door contact and switch, and electric door strike, heavy duty. "Request to exit" button signage. Request to exit PIR motion sensors. Touchless panels.
Alarms, panic, under desk.
Alarms, wearable mobile panic button.
CATEGORY D: Fiber Optic/Ethernet Cabling Installation
Single & multi-mode fiber splicing to include waterproof enclosures
Cat 5/Cat 6 termination and testing
Fiber optic cable termination in cassette or panel
OTDR and power meter testing of fiber cable
Boring to include earth, rock or external walls (Vendor must be able to install orange colored, 3 inch conduit or two, 2 inch conduits as required)
Pull Box (Hand Hole) installation in earth/rock/pavement (KCMO installations must meet KCMO TCD-0-6 & TCD-0-6a Type II).
Fiber optic cable must be single mode, rated appropriately for inside or outside plant use. KCMO installations to meet KCMO standard available at the following link:
https://drive.google.com/file/d/1jfA3lqKbI-s6TSNmFjTCPXx3bRN7dMQ6/view

## Tab 4 - Submittal Response 5.0
MARC/KCRPC BID 119 - APPENDIX A - TAB 4 - BIDDERS CHECKLIST - SUBMITTAL RESPONSE - Addendum 1 (No changes to Tab 4)
Completed and Included? Designate "Yes or No"
Addendum(s) signed and included? Bidders shall confirm if any additional addendums have been issued, by either contacting the Program Coordinator, or checking the web sites at www.marc.org or www.demandstar.com.
Section 5.0 Submittal Section - Completed and signed by authorized person.
Appendix A - Excel workbook
Appendix B - Cooperative Procurement
Appendix C - Authorization-Collusion Affidavit
Appendix D - Disabled Veterans Preference (Missouri)
Appendix E - Bidder Warranties
Appendix F - E-Verification
Appendix G - Missouri Products Preference
Appendix H - Bidder Guarantee
Appendix I - Debarment Certification
Appendix J - Intent to Perform as MBE-WBE
Appendix K - Affirmative Action
Appendix L - Lobbying
Payment terms are Net 30 . Do you offer discount for early payment (i.e. Net 10 - 2 percent discount)? If yes, state calendar days and percentage.
Government procurement cards accepted?
Credit card processing fees added? If yes, state percentage.
Geographical service coverage (local, state or national):
Registered to conduct business in State of Kansas? If yes, provide business ID number.
Registered to conduct business in State of Missouri? If yes, provide charter number.
Annual maintenance service agreement available? If yes, provide details or submit sample agreement.
Annual maintenance service agreement (if available) - Do you offer multi-year pre-payment discount? If yes, state discount and terms.
Warranty - Parts - State warranty period
Warranty - Labor - State warranty period
Warranty - Extended - State cost and availability
Describe policy/process to replace equipment due to damage, theft or repair during warranty period
Describe ability to deactivate equipment immediately
Describe security and fraud detection capability
Describe website presence and functionality on website
Technical support, 24/7 capability? If yes, state availability

## Tab 5 Reference-Equip-Subs
MARC/KCRPC BID 119 - APPENDIX A - TAB 5 - REFERENCES / KEY PERSONNEL / SUBCONTRACTORS / AVAILABLE EQUIPMENT - Addendum 1 (No Changes Tab 5)
References: Bidders must provide a minimum of three references, for similar work/service as shown in the scope of work, within the last five years.
Contact Name | Company | Email Address | Telephone Number
Key Personnel: List of staff members responsible for all work (contract management) performed under this contract: (attach separate sheet if necessary).
Name | Job Title: | Responsibility: | Experience
Subcontractors: Bidders must include information and references for any subcontractors to be used under this work, if applicable.
Company Name: | Work to be performed: | Work Reference: | Reference Contact:
Available Equipment: Available equipment means equipment to be used for work specified in bid (that is in possession of the contractor or subcontractor, either by purchase, lease, or existing equipment).

## Tab 6 - Contacts
MARC/KCRPC BID 119 - APPENDIX A - TAB 6 - CONTACTS - Addendum 1 (No changes Tab 6)
Provide the following contacts for ordering, purchase orders, and remittance information:
Quote /Service Requests /Ordering : | Contact Person:
Phone:
Fax:
Email:
Purchase Orders: | Contact Person:
Phone:
Fax:
Address:
City, state, zip
Mailing address for Payments: | Contact Person:
Phone:
Address:
City, state, zip
Emergency Contact: | Contact Person #1:
Mobile:
Contact Person #2:
Mobile:
Technical Support 24/7: | Contact Person #1:
Mobile:
Contact Person #2:
Mobile: